## Blad1
Date | Priority | Module | Issue description | Reported by | Assigned to | Status
2015-01-20 | medium | DAQmx, function AddDAQmxChannel | When adding a DAQmx channel that is reserved, UI resources are added (channel & task tab) but the DAQmx task cannot be set up. The issue whether a resource is reserved or not should be either checked before adding UI or the UI added should be removed | Adrian
2015-01-20 | low | DAQLab | Implement a more rigorous way of generating names for VChans that must be unique. Modify DLGetUniquevChanName to make use of the module and task controller names | Adrian
2015-01-20 | medium | DAQmx | Handle DAQmx errors when setting up DAQmx tasks and couple them to the task controller state. If an error is encountered while setting up a DAQmx task, then the task controller should be switched to an Unconfigured state so that it cannot be executed from the task tree | Adrian
2015-01-20 | low | DAQLab | When a task controller is dropped as a child of another task controller in the Task Tree, the selection jumps back to the first element in the Task Tree. This is because the task tree is re-assembled each time an a task controller item is dragged and dropped. This gives a slightly annoying user experience when assembing task trees. | Adrian
2015-01-20 | medium | Laser Scanning, galvo axis calibration | When interrupting a scan axis calibration in progress by pressing the stop button on the UITC, often a General Protection Fault error is thrown. The scan calibration should be able to stop in a more reliable way. | Adrian
2015-01-21 | low | DAQLab | Develop a uniform naming system for Vchans and modify DLGetUniqueVChanName. The naming convention should be "<module name>: <task controller name>: <VChanName> <number>" with the number being optional in case there would be multiple Vchans with the same name. One issue to address in this case is how to change the VChan name if the module or task controller names change | Adrian
2015-01-21 | high | DAQLab, task controller | If an error is encountered when executing an UITC and after that the UITC is reset and started again, then the UITC receives a Start event while it is stuck in its Configured state. This is seen when the UITC has child TCs, and it is possible that there is some sort of race condition again between threads. Sometimes an error does not need to occur, it seems that the reset itself is just unreliable. | Adrian